## Sheet1
PREFIX rdf: <http://www.w3.org/1999/02/22-rdf-syntax-ns#> PREFIX owl: <http://www.w3.org/2002/07/owl#> PREFIX rdfs: <http://www.w3.org/2000/01/rdf-schema#> PREFIX xsd: <http://www.w3.org/2001/XMLSchema#> PREFIX tw: <http://www.toronto.ca/TWONTO#> SELECT ?TWONTO (STR(?object) as ?Avantis) WHERE { ?TWONTO tw:is_equivalent_to_tag_code ?object . FILTER NOT EXISTS { ?TWONTO owl:deprecated "true"^^xsd:boolean } }
TWONTO | Tag
burner - component of asset | BU
storage tank | T
auto sampler | SP
lighting panel | LP
flow sensor element | FE
generator | GEN
ground fault tester | GRF
ladder | LDR
collector mechanism | CM
flowmeter | FT
blower | FN
humidifier | HU
flowmeter | FIT
level sensor element | LE
manhole | MH
air condition | AC
instrument sensor element | SEN
transfer switch | TS
trap priming device | TPD
power washer | PWU
spill kit | SPL
position sensing | ZRT
dehumidifier | D
temperature sensor element | TE
security camera | SCAM
dust collector | DCU
chlorinator system | CHL
air handler unit | AHU
instrument gauge or display | GA
channel gate | G
compactor | CMP
quencher | QUEN
pipe segment | PIP
hydraulic power pack | HPU
operator interface terminal | OIT
fire rated door | DR
cable segment | CBL
level transmitter | LT
roll up door | DR
variable air volume unit | VAV
level transmitter | LIT
UV disinfection assembly | UV
equipment chamber or access chamber | CH
instrument sensor element | AE
flow switch | FS
controlled door access | DR
grinder or comminutor | GDR
air scrubber | SB
backflow preventer | BFP
condensate trap | DT
pressure transmitter | PT
chemical dosing system | FD
evaporator | EV
ozone generator | OZ
disconnect switch | DS
RPU panel | RPU
elevator | ELV
valve | FCV
transformer | TR
heat exchanger | HE
strainer | STR
flame arrestor | FX
classifier | CL
pulsation dampener | PDM
fixed gas detector | AM
ejector | INJ
furnace | FU
slude density meter | DIT
torque switch | XSH
display panel | MON
air damper | DM
heater | HTR
pressure transmitter | PIT
UPS | UPS
motor starter | ST
battery | BAT
server appliance | SERV
boiler | BO
material distribution panel | DP
weight scale | WIT
PA speaker | PA
power harmonic filter | HF
vibration analyzer | VIT
capacitor | CAP
well | WEL
groundskeeping equipment | Grounds
process control panel | CP
computer | CPU
display panel | DD
blower | BL
position sensing | ZT
centrifuge | CF
screen | SC
mixer or agitator | MX
pressurized sewer segment | FM
annunciator panel | FA
first aid kit | FAK
gearbox | GB
SCBA | SCBA
level switch | LS
outfall or discharge point | OTF
stationary tool | SM
air duct segment | DU
level transmitter | LRT
chiller | CI
alarm | ALR
motion sensor element | MS
ash lagoon | LAG
data logger | RC
process controller | CT
valve | PCV
automatic external defibrillator | DEF
motor | m
motor | m
engine | ENG
conveyor | CV
reactor | RX
position sensing | ZIT
instrument transmitter | AIT
condenser | CU
clarifier | CLR
RPU panel | RTU
crane | CRN
surge suppressor | VSS
compressor | C
weight scale | WSC
reservoir tank | RES
battery charger | BAT
flow transmitter | FT
protection relay | AFR
weight scale | WRT
flow transmitter | FIT
hydrant | HYD
hydrant | HYD
PA speaker | AMP
valve | V