## Sheet1
TWONTO | Super_Category
http://www.toronto.ca/TWONTO#level_transmitter | Meter,Level,Bubbler Meter,Level,Capacitance Meter,Level,Infrared Meter,Level,Ultrasonic
http://www.toronto.ca/TWONTO#UV_disinfection_assembly | Ultraviolet Disinfection,Bank Ultraviolet Disinfection,Chamber
http://www.toronto.ca/TWONTO#chemical_or_concentration_sensor_element | Sensor,Gas
http://www.toronto.ca/TWONTO#pressure_vessel | Vessel,Pressure,Surge
http://www.toronto.ca/TWONTO#waste_gas_burner | Burner,Waste Gas
http://www.toronto.ca/TWONTO#valve | Regulator Regulator,Flow Regulator,Pressure Valve,3 Way Valve,3 Way,Act. Valve,Act. Valve,Air Release Valve,Anti-Siphon Valve,Balance Valve,Ball Valve,Ball,Act. Valve,Butterfly Valve,Butterfly,Act. Valve,Check Valve,Cone Valve,Cone,Act. Valve,Diaphragm Valve,Diaphragm,Act. Valve,Flow Control Valve,Gate Valve,Gate,Act. Valve,Globe Valve,Globe,Act. Valve,Knife Gate Valve,Knife Gate,Act. Valve,Needle Valve,Pet Cock Valve,Pinch Valve,Pinch,Act. Valve,Plug Valve,Plug,Act. Valve,Pressure Control Valve,Pressure Reducing Valve,Pressure Reducing,Act. Valve,Solenoid Valve,Solenoid,Act. Valve,Temperature Control Valve,Thermal Valve,Rotary
http://www.toronto.ca/TWONTO#pump_-_without_drive | Pump,Centrifugal Pump,Centrifugal,Multi-Stage Pump,Centrifugal,single-Stage Pump,Centrifugal,Vacuum Pump,Disc Type Pump,Gear Pump,Lobe Pump,Piston Pump,Progressive Cavity Pump,Rotary Vane Pump,Screw
http://www.toronto.ca/TWONTO#centrifuge | Centrifuge,Dewatering Centrifuge,Thickening
http://www.toronto.ca/TWONTO#clarifier | Clarifier,Circular Clarifier,Rectangular Clarifier,Square
http://www.toronto.ca/TWONTO#instrumentation | Meter
http://www.toronto.ca/TWONTO#pond | Lagoon
http://www.toronto.ca/TWONTO#vibration_sensor_element | Switch,Vibration-High Switch,Vibration-Low
http://www.toronto.ca/TWONTO#grinder_or_comminutor | Grinder,Double-Roll Grinder,Dual Shaft counterrotating
http://www.toronto.ca/TWONTO#well | Well,Reservoir
http://www.toronto.ca/TWONTO#flow_switch | Switch,Flow-High Switch,Flow-Low
http://www.toronto.ca/TWONTO#battery_charger | Charger,Battery
http://www.toronto.ca/TWONTO#system_of_integrated_discrete_assets | System,Ultraviolet Disinfection
http://www.toronto.ca/TWONTO#load_break_disconnect_switch | fvyuLoad Break Switch
http://www.toronto.ca/TWONTO#air_handler_unit | Air Handling Unit
http://www.toronto.ca/TWONTO#instrument_gauge_or_display | Pressure Sensor,Gauge Pressure Sensor,Gauge,Pressure Meter,Flow,Rotometer
http://www.toronto.ca/TWONTO#portable_gas_detector | Atmosphere Monitoring Device,Portable Atmosphere Monitoring Device,Portable,Mercury Atmosphere Monitoring Device,Portable,Oxygen/Toxic/CH4/LEL/CL/SO2
http://www.toronto.ca/TWONTO#flocculation_tank | Flocculator,Paddle Wheel Flocculator,Turbine Flocculator,Walking Beam
http://www.toronto.ca/TWONTO#pump_set_-_with_drive | Pump,Diaphragm Pump,Lubricating Pump,Metering Pump,Peristaltic Pump,Portable Pump,Submersible
http://www.toronto.ca/TWONTO#large_stationary_tool | Machine Tool,Saw
http://www.toronto.ca/TWONTO#air_duct_segment | Silencer
http://www.toronto.ca/TWONTO#PLC | Controller,Flow Controller,Level Controller,Pressure Controller,Temperature Controller,VFD
http://www.toronto.ca/TWONTO#PPE | PPE
http://www.toronto.ca/TWONTO#air_handler_unit | Air Handling Unit,Blow Thru Air Handling Unit,Draw Thru
http://www.toronto.ca/TWONTO#level_switch | Switch,Level-High Switch,Level-High-High Switch,Level-Low Switch,Level-Low-Low
http://www.toronto.ca/TWONTO#screw_conveyor | Conveyor,Screw,Shaftless
http://www.toronto.ca/TWONTO#electrical_panel_or_cabinet | Electrical Power Line,Electrical Bus
http://www.toronto.ca/TWONTO#actuator | Actuator,Electric Actuator,Hydraulic Actuator,Hydraulic,Cylinder Actuator,Hydraulic,Vane Type Actuator,Manual Actuator,Manual,Chain Wheel Actuator,Manual,Hand Wheel Actuator,Manual,Lever Actuator,Pneumatic Actuator,Pneumatic,Cylinder Actuator,Pneumatic,Vane Type
http://www.toronto.ca/TWONTO#pressure_transmitter | Transmitter,Pressure,Differential
http://www.toronto.ca/TWONTO#pressure_switch | Switch,Pressure-High Switch,Pressure-Low
http://www.toronto.ca/TWONTO#speed_switch | Switch,Speed-High Switch,Speed-Low
http://www.toronto.ca/TWONTO#compressor | Compressor,Portable Compressor,Portable,Skid Mount Compressor,Portable,Trailer Mount Compressor,Screw Compressor,Stationary Compressor,Stationary,Centrifugal Compressor,Stationary,Piston Compressor,Stationary,Screw Compressor,Stationary,Sliding Vane
http://www.toronto.ca/TWONTO#roof | Roof Type Roof Type,Cold Process Build Up Roof Type,Inverted Roof Type,Metal Roof Type,Metal,Copper Roof Type,Metal,Galvanized Roof Type,Shingle Roof Type,Single Ply Membrane Roof Type,Single Ply Membrane,Asphalt Roof Type,Slate Roof Type,Standard Build Up Roof Type,Tile
http://www.toronto.ca/TWONTO#air_scrubber | Scrubber,Impingement
http://www.toronto.ca/TWONTO#crane | Crane,Overhead Crane,Overhead,Fixed Crane,Overhead,Fixed,Paper Crane,Travelling Crane,Overhead,Travelling
http://www.toronto.ca/TWONTO#battery | Battery
http://www.toronto.ca/TWONTO#process_control_panel | Control Panel,Fire Control Panel,HVAC Control Panel,Instrumentation Control Panel,Operator Control Panel,Security
http://www.toronto.ca/TWONTO#passenger_vehicles | Vehicle,Licensed Vehicle,Unlicensed
http://www.toronto.ca/TWONTO#screen | Screen,Trommel Screen,Vibrating
http://www.toronto.ca/TWONTO#computer | Computer Equipment,CD Rom Computer Equipment,CPU Computer Equipment,Hard Drive Computer Equipment,Hub Computer Equipment,Laptop Docking Station Computer Equipment,Memory Computer Equipment,Monitor Computer Equipment,Printer Computer Equipment,Scanner Desktop Desktop,Laptop Desktop,Thin Client Desktop,Workstation
http://www.toronto.ca/TWONTO#dryer | Drier,Dessicant Drier,Refrigerant
http://www.toronto.ca/TWONTO#strainer | Strainer,Self Cleaning Motorized
http://www.toronto.ca/TWONTO#generator-set | Generator,Electricity,Portable Generator,Electricity,Stationary
http://www.toronto.ca/TWONTO#conveyor | Conveyor,Vibrating
http://www.toronto.ca/TWONTO#air_damper | Damper/Louver,Butterfly Damper/Louver,Butterfly,Double Blade Damper/Louver,Butterfly,Multi Blade Damper/Louver,Butterfly,Single Blade Damper/Louver,Guillotine Damper/Louver,Variable Vane
http://www.toronto.ca/TWONTO#heater | H.V.A.C.,Heater,Baseboard H.V.A.C.,Heater,Convection H.V.A.C.,Heater,Duct H.V.A.C.,Heater,Unit Heater,Process
http://www.toronto.ca/TWONTO#server_appliance | Server,Rack Mounted Server,Tower
http://www.toronto.ca/TWONTO#blower | Blower,Centrifugal Blower,Positive Displacement Fan,Axial Fan,Centrifugal
http://www.toronto.ca/TWONTO#chemical_storage_tank | Tank,Alum
http://www.toronto.ca/TWONTO#forklift | Forklift,Electric Forklift,Gas/Propane Dual Fuel Forklift,Propane
http://www.toronto.ca/TWONTO#weight_scale | Weigh Scale,Axle Weigh Scale,Load Cell Weigh Scale,Platform Weigh Scale,Strain Gauge
http://www.toronto.ca/TWONTO#lighting_unit | Lighting,Aviation Lighting,Emergency Lighting,Exit Lighting,General Lighting,Portable Lighting,Portable,Trailer Mount Lighting,Security
http://www.toronto.ca/TWONTO#instrument_transmitter | Transmitter,Density Transmitter,Flow Transmitter,Humidity Transmitter,Power Indicating Transmitter,Speed Transmitter,Weight Indicating
http://www.toronto.ca/TWONTO#transformer | Transformer,Control Transformer,Ignition Transformer,Lighting Transformer,Power Transformer,Power,Dry Transformer,Power,Oil Filled
http://www.toronto.ca/TWONTO#battery | Battery,Dry Cell Battery,Wet Cell
http://www.toronto.ca/TWONTO#UPS | Computer Equipment,UPS
http://www.toronto.ca/TWONTO#temperature_switch | Switch,Temperature-High Switch,Temperature-Low
http://www.toronto.ca/TWONTO#position_switch | Switch,Position-High Switch,Position-Low
http://www.toronto.ca/TWONTO#mixer_or_agitator | Agitator,Air Mixer,Propeller Mixer,Submersible Mixer,Venturi
http://www.toronto.ca/TWONTO#chemical_or_concentration_analyzer | Analyzer
http://www.toronto.ca/TWONTO#cable_segment | Cable,Busduct Cable,Teck
http://www.toronto.ca/TWONTO#elevator | Elevator,Freight Elevator,Personnel
http://www.toronto.ca/TWONTO#storage_tank | Tank,Non-Pressurized
http://www.toronto.ca/TWONTO#incinerator | Incinerator,Multi-Hearth
http://www.toronto.ca/TWONTO#compactor | Compactor,Mobile Compactor,Stationary Compactor,Stationary,Paper Transfer Compactor
http://www.toronto.ca/TWONTO#hot_work_equipment | Welding Equipment Welding Equipment,Oxy-Acetylene Cutting Apparatus Welding Equipment,Plasma Cutting Machine Welding Equipment,Welding Machine Welding Equipment,Welding Tools
http://www.toronto.ca/TWONTO#fixed_gas_detector | Atmosphere Monitoring Device,Stationary,H2S/CO/CL/Toxic/SO2/NH3 Atmosphere Monitoring Device,Stationary,Methane/LEL Analyzer,Carbon Monoxide (CO) Analyzer,Methane/LEL Analyzer,Oxygen Analyzer,Ozone Analyzer,Particle Counter Analyzer,Sulphur Dioxide Analyzer,Total Hydrocarbon (THC) Sensor,Gas,CL2 Sensor,Gas,NH3 Sensor,Gas,SO2
http://www.toronto.ca/TWONTO#5kV_electrical_cabinet | Switchgear,Indoor Switchgear,Outdoor
http://www.toronto.ca/TWONTO#lifting_equipment_hoist | Lifting Device,Hoist,Electrical Lifting Device,Hoist,Manual
http://www.toronto.ca/TWONTO#motor | Motor,AC Motor,AC,Induction Motor,AC,Synchronous Motor,AC,Wound Rotor Motor,DC Motor,Hydraulic Motor,Pneumatic