## Sheet1
TWONTO | Avantis_Class
channel_gate | Gate
instrument_air_or_pneumatic_control_panel | Air Instrument
UV_disinfection_assembly | Ultraviolet Disinfection
clarifier | Clarifier
controlled_door_access | Door
600V_insulated_case_electrical_cabinet | Motor Control Center Motor Control Centre Power Distribution Panel Control Panel,MCC
protection_relay | Protective Relay
heater | Heater
ladder | Ladder
passenger_vehicles | Vehicle
5kV_electrical_cabinet | Switchgear
rupture_disc | Rupture Disc
VFD | Variable Frequency Drive
quencher | Quencher
dryer | Drier
air_damper | Damper/Louver
outfall_or_discharge_point | Outfall
centrifuge | Centrifuge
battery | Battery
strainer | Strainer
boiler | Boiler
backflow_preventer | Back Flow Preventer
well | Well
man_lift | Man Lift
cyclone_classifier | Cyclone
gearbox | Gearbox
air_duct_segment | Duct Vent
transformer | Transformer
ventilation_system | HVAC
screen | Screen
burner_component_of_asset | Burner
computer | Computer Hardware
water_trailer | Water Trailer
server_appliance | Server
dehumidifier | Dehumidifier
blower | Blower Fan
ac_condenser_unit | Condensing Unit
crane | Crane
conveyor | Conveyor
first_aid_kit | First Aid
compressor | Compressor
grinder_or_comminutor | Grinder
fixed_gas_detector | Gas Monitoring
pipette | Pipette
PLC | Programmable Logic Control
lighting_unit | Lighting
auto_sampler | Sampler
classifier | Classifier
breaker | Circuit Breaker
network_switch | Network Switch
motor | Motor
air_scrubber | Scrubber
elevator | Elevator
storage_tank | Tank
power_washer | Power Washer
collector_mechanism | Collector Mechanism
RTU | Remote Transmission Unit Remote Processor Unit
boat | Boat
granular_material | Filter
mixer_or_agitator | Agitator Mixer
engine | Engine
weight_scale | Weigh Scale
actuator | Actuator
building | Building Structure
manhole | Maintenance Hole
data_logger | Recorder
equipment_or_access_chamber | Chamber
humidier | Humidifier
ejector | Injector
vortex_classifier | Vortex
compactor | Compactor Transfer Compactor
air_handler_unit | Air Handling Unit
alarm_device | Alarm
process_control_panel | Control Panel
air_exchange_unit | Air Exchanger Unit
cable_segment | Cable
instrument_transmitter | Transmitter
flame_arrestor | Flame Arrester
pipe_segment | Piping
instrument_element | Sensor
heat_exchanger | Heat Exchanger
venturi | Venturi
UPS | Uninterruptible Power Supply
pump_-_without_drive | Pump
generator-set | Generator
vacuum_cleaner | Vacuum Cleaner
motor_starter | Starter
chemical_or_concentration_analyzer | Analyzer
instrument_gauge_or_display | Indicator
still_or_video_mobile_camera | Camera
controller | Controller
network_panel | Network
valve | Valve
SCADA_computer_terminal | Operator Interface Terminal
incinerator | Incinerator
capacitor | Capacitor
chiller | Chiller
hydraulic_system | Hydraulic System
filtration_tank | Biofilter
load_break_disconnect_switch | Load Break Switch
cooling_tower | Cooling Tower