## Sheet1
TWONTO | Super_Category
level_transmitter | Meter,Level,Bubbler Meter,Level,Capacitance Meter,Level,Infrared Meter,Level,Ultrasonic
UV_disinfection_assembly | Ultraviolet Disinfection,Bank Ultraviolet Disinfection,Chamber
chemical_or_concentration_sensor_element | Sensor,Gas
pressure_vessel | Vessel,Pressure,Surge
waste_gas_burner | Burner,Waste Gas
valve | Regulator Regulator,Flow Regulator,Pressure Valve,3 Way Valve,3 Way,Act. Valve,Act. Valve,Air Release Valve,Anti-Siphon Valve,Balance Valve,Ball Valve,Ball,Act. Valve,Butterfly Valve,Butterfly,Act. Valve,Check Valve,Cone Valve,Cone,Act. Valve,Diaphragm Valve,Diaphragm,Act. Valve,Flow Control Valve,Gate Valve,Gate,Act. Valve,Globe Valve,Globe,Act. Valve,Knife Gate Valve,Knife Gate,Act. Valve,Needle Valve,Pet Cock Valve,Pinch Valve,Pinch,Act. Valve,Plug Valve,Plug,Act. Valve,Pressure Control Valve,Pressure Reducing Valve,Pressure Reducing,Act. Valve,Solenoid Valve,Solenoid,Act. Valve,Temperature Control Valve,Thermal Valve,Rotary
pump_-_without_drive | Pump,Centrifugal Pump,Centrifugal,Multi-Stage Pump,Centrifugal,single-Stage Pump,Centrifugal,Vacuum Pump,Disc Type Pump,Gear Pump,Lobe Pump,Piston Pump,Progressive Cavity Pump,Rotary Vane Pump,Screw
centrifuge | Centrifuge,Dewatering Centrifuge,Thickening
clarifier | Clarifier,Circular Clarifier,Rectangular Clarifier,Square
instrumentation | Meter
pond | Lagoon
vibration_sensor_element | Switch,Vibration-High Switch,Vibration-Low
grinder_or_comminutor | Grinder,Double-Roll Grinder,Dual Shaft counterrotating
well | Well,Reservoir
flow_switch | Switch,Flow-High Switch,Flow-Low
battery_charger | Charger,Battery
system_of_integrated_discrete_assets | System,Ultraviolet Disinfection
load_break_disconnect_switch | fvyuLoad Break Switch
air_handler_unit | Air Handling Unit
instrument_gauge_or_display | Pressure Sensor,Gauge Pressure Sensor,Gauge,Pressure Meter,Flow,Rotometer
portable_gas_detector | Atmosphere Monitoring Device,Portable Atmosphere Monitoring Device,Portable,Mercury Atmosphere Monitoring Device,Portable,Oxygen/Toxic/CH4/LEL/CL/SO2
flocculation_tank | Flocculator,Paddle Wheel Flocculator,Turbine Flocculator,Walking Beam
pump_set_-_with_drive | Pump,Diaphragm Pump,Lubricating Pump,Metering Pump,Peristaltic Pump,Portable Pump,Submersible
large_stationary_tool | Machine Tool,Saw
air_duct_segment | Silencer
PLC | Controller,Flow Controller,Level Controller,Pressure Controller,Temperature Controller,VFD
PPE | PPE
air_handler_unit | Air Handling Unit,Blow Thru Air Handling Unit,Draw Thru
level_switch | Switch,Level-High Switch,Level-High-High Switch,Level-Low Switch,Level-Low-Low
screw_conveyor | Conveyor,Screw,Shaftless
electrical_panel_or_cabinet | Electrical Power Line,Electrical Bus
actuator | Actuator,Electric Actuator,Hydraulic Actuator,Hydraulic,Cylinder Actuator,Hydraulic,Vane Type Actuator,Manual Actuator,Manual,Chain Wheel Actuator,Manual,Hand Wheel Actuator,Manual,Lever Actuator,Pneumatic Actuator,Pneumatic,Cylinder Actuator,Pneumatic,Vane Type
pressure_transmitter | Transmitter,Pressure,Differential
pressure_switch | Switch,Pressure-High Switch,Pressure-Low
speed_switch | Switch,Speed-High Switch,Speed-Low
compressor | Compressor,Portable Compressor,Portable,Skid Mount Compressor,Portable,Trailer Mount Compressor,Screw Compressor,Stationary Compressor,Stationary,Centrifugal Compressor,Stationary,Piston Compressor,Stationary,Screw Compressor,Stationary,Sliding Vane
roof | Roof Type Roof Type,Cold Process Build Up Roof Type,Inverted Roof Type,Metal Roof Type,Metal,Copper Roof Type,Metal,Galvanized Roof Type,Shingle Roof Type,Single Ply Membrane Roof Type,Single Ply Membrane,Asphalt Roof Type,Slate Roof Type,Standard Build Up Roof Type,Tile
air_scrubber | Scrubber,Impingement
crane | Crane,Overhead Crane,Overhead,Fixed Crane,Overhead,Fixed,Paper Crane,Travelling Crane,Overhead,Travelling
battery | Battery
process_control_panel | Control Panel,Fire Control Panel,HVAC Control Panel,Instrumentation Control Panel,Operator Control Panel,Security
passenger_vehicles | Vehicle,Licensed Vehicle,Unlicensed
screen | Screen,Trommel Screen,Vibrating
computer | Computer Equipment,CD Rom Computer Equipment,CPU Computer Equipment,Hard Drive Computer Equipment,Hub Computer Equipment,Laptop Docking Station Computer Equipment,Memory Computer Equipment,Monitor Computer Equipment,Printer Computer Equipment,Scanner Desktop Desktop,Laptop Desktop,Thin Client Desktop,Workstation
dryer | Drier,Dessicant Drier,Refrigerant
strainer | Strainer,Self Cleaning Motorized
generator-set | Generator,Electricity,Portable Generator,Electricity,Stationary
conveyor | Conveyor,Vibrating
air_damper | Damper/Louver,Butterfly Damper/Louver,Butterfly,Double Blade Damper/Louver,Butterfly,Multi Blade Damper/Louver,Butterfly,Single Blade Damper/Louver,Guillotine Damper/Louver,Variable Vane
heater | H.V.A.C.,Heater,Baseboard H.V.A.C.,Heater,Convection H.V.A.C.,Heater,Duct H.V.A.C.,Heater,Unit Heater,Process
server_appliance | Server,Rack Mounted Server,Tower
blower | Blower,Centrifugal Blower,Positive Displacement Fan,Axial Fan,Centrifugal
chemical_storage_tank | Tank,Alum
forklift | Forklift,Electric Forklift,Gas/Propane Dual Fuel Forklift,Propane
weight_scale | Weigh Scale,Axle Weigh Scale,Load Cell Weigh Scale,Platform Weigh Scale,Strain Gauge
lighting_unit | Lighting,Aviation Lighting,Emergency Lighting,Exit Lighting,General Lighting,Portable Lighting,Portable,Trailer Mount Lighting,Security
instrument_transmitter | Transmitter,Density Transmitter,Flow Transmitter,Humidity Transmitter,Power Indicating Transmitter,Speed Transmitter,Weight Indicating
transformer | Transformer,Control Transformer,Ignition Transformer,Lighting Transformer,Power Transformer,Power,Dry Transformer,Power,Oil Filled
battery | Battery,Dry Cell Battery,Wet Cell
UPS | Computer Equipment,UPS
temperature_switch | Switch,Temperature-High Switch,Temperature-Low
position_switch | Switch,Position-High Switch,Position-Low
mixer_or_agitator | Agitator,Air Mixer,Propeller Mixer,Submersible Mixer,Venturi
chemical_or_concentration_analyzer | Analyzer
cable_segment | Cable,Busduct Cable,Teck
elevator | Elevator,Freight Elevator,Personnel
storage_tank | Tank,Non-Pressurized
incinerator | Incinerator,Multi-Hearth
compactor | Compactor,Mobile Compactor,Stationary Compactor,Stationary,Paper Transfer Compactor
hot_work_equipment | Welding Equipment Welding Equipment,Oxy-Acetylene Cutting Apparatus Welding Equipment,Plasma Cutting Machine Welding Equipment,Welding Machine Welding Equipment,Welding Tools
fixed_gas_detector | Atmosphere Monitoring Device,Stationary,H2S/CO/CL/Toxic/SO2/NH3 Atmosphere Monitoring Device,Stationary,Methane/LEL Analyzer,Carbon Monoxide (CO) Analyzer,Methane/LEL Analyzer,Oxygen Analyzer,Ozone Analyzer,Particle Counter Analyzer,Sulphur Dioxide Analyzer,Total Hydrocarbon (THC) Sensor,Gas,CL2 Sensor,Gas,NH3 Sensor,Gas,SO2
5kV_electrical_cabinet | Switchgear,Indoor Switchgear,Outdoor
lifting_equipment_hoist | Lifting Device,Hoist,Electrical Lifting Device,Hoist,Manual
motor | Motor,AC Motor,AC,Induction Motor,AC,Synchronous Motor,AC,Wound Rotor Motor,DC Motor,Hydraulic Motor,Pneumatic