## Append1
CODE | DESCRIPTION
AC | Air Conditioner
AE | Analyzer Element
AF | Anaerobic Filter
AFR | Arc Flash Protection Relay
AHU | Air Handling Unit
AIC | Analysis Indicating Controller
AIT | Analysis Indicating Transmitter
ALR | Alarm
AM | Atmosphere Monitoring
AMP | Amplifier Paging
ANL | Analyser
APP | Software Applications
ART | Analysis Recording Transmitter
ASH | Analysis Switch High
ASL | Analysis Switch Low
BAT | Battery (Bank) / Battery Charger
BFP | Backflow Preventer
BL | Blower
BN | Bin
BO | Boiler
BRCH | Breaching
BU | Burner
BUS | Bus bar Greater than 750 volts, used to identify Switchgear
C | Compressor
CAP | Capacitor
CB | Circuit Breaker less than 750 volts
CBL | Cable - Only for 4160V and above
CF | Centrifuge
CH | Chamber
CHL | Chlorinator
CI | Chiller
CL | Classifier (Grit)
CLR | Clarifier
CM | Collector Mechanism
CMP | Compactor
COM | Communications Equipment, LAN, Telephone
CP | Control Panel
CPU | Computer
CRN | Crane
CT | Controller
CU | Condensing Unit
CV | Conveyor equipment (belt, bucket, screw, etc.)
CYC | Cyclone, vortex
D | Air Dryer ,Dehumidifier, Demister
DC | Data Cable (not for Contracts -for WMS only)
DCU | Dust Collector Unit
DD | Display Device
DEF | Defibrillation Unit
DIT | Density Indication Transmitter
DL | Data Logger
DM | Damper, Louvre
DP | Distribution Panel (Instrument Air, Oil, Water, Steam, etc. For electrical panels use PDP)
DPU | Dry Polymer Preparation Unit
DR | Door ( over-head or security system doors)
DRN | Drains (not for Contracts -for WMS only)
DRV | Drive Electric, Mechanical
DS | Disconnect Switch
DT | Drip Trap, Condensate Trap
DU | Duct (not for Contracts -for WMS only)
DVS | Flow Diversion Structure
EIT | Voltage Indicating Transmitter
ELV | Elevator
ENG | Engine
ESP | Electrical Splitter
EV | Evaporator
F | Filter
FA | Fire Alarm System Control Panel
FAK | First Aid Kit
FCV | Flow Control Valve
FD | Feeder, Chemical
FDT | Flame Detector
FE | Flow Element
FEQ | Fire Extinguisher
FFIC | Flow Ratio Indicating Controller
FI | Flow Indicator or Gauge
FIC | Flow Indicating Controller
FIT | Flow Indicating Transmitter
FM | Force Main
FN | Fan
FP | Flushing Point (not for Contracts -for WMS only)
FQ | Flow Totalizing Meter
FQIR | Flow Totalizing Indicating Recorder
FRIC | Dosage (or Ratio) Indicating Controller
FRT | Flow Recording Transmitter
FS | Flow Switch
FSH | Flow Switch High
FSL | Flow Switch Low
FSP | Fire Standpipe & Hose
FSS | Fire Suppression System
FT | Flow Transmitter
FU | Furnace
FX | Flame Arrestor
FY | Flow Analyzing Element
G | Gate(Sluice, Weir) or Stop Gate / Stop Logs
GA | Gauge (not for Contracts -for WMS only)
GB | Gearbox
GDR | Grinder, Comminutor
GEN | Generator
GQ | Grounds Equipment
GRF | Ground Fault Relay
GS | Gas Distribution (not for Contracts -for WMS only)
HE | Heat Exchanger
HF | Harmonic Filter
HMS | Hand Momentary Switch (or Pushbutton)
HMSB | Hand Momentary Pushbutton – Stop
HMSF | Hand Momentary Pushbutton – Start Fast
HMSH | Hand Momentary Pushbutton – Start
HMSL | Hand Momentary Pushbutton – Start Reverse
HMSS | Hand Momentary Pushbutton – Start Slow
HPU | Hydraulic Power Unit
HS | Hand Switch (or Pushbutton)
HTR | Heater
HU | Humidifier
HYD | Hydrant
IGN | Igniter
IIT | Current Indicating Transmitter
INJ | Injector, Ejector, Eductor, Aspirator
INQ | Instrument Equipment
INT | Intake Structure
IRG | Irrigation System
IRT | Current Recording Transmitter
JIT | Power Indicating Transmitter (Monitoring Only)
JRT | Power Recording Transmitter (Protection, Monitoring & Control)
KI | Time Indicator (Clock)
KIQ | Total Runtime Meter
LAG | Lagoon
LB | Load Break Switch
LCV | Level Control Valve
LD | Lifting Device
LDIT | Level Differential Indication Transmitter
LDR | Ladder
LE | Level Element
LHD | Line Heat Detector
LI | Level Indicator or Gauge
LIC | Level Indicating Controller
LIT | Level Indicating Transmitter
LOA | Loading Dock
LP | Lighting Panel or Load Panel
LPG | Lighting panel, Generator powered (use only for THC)
LPU | Lighting panel, UPS powered (use only for THC)
LR | Lubrication Ring
LRT | Level Recording Transmitter
LS | Level Switch
LSH | Level Switch High
LSHH | Level Switch High-High
LSL | Level Switch Low
LSLL | Level Switch Low Low
LSM | Level Switch Medium
LT | Level Transmitter
LTG | Lighting (emergency and security)
LTX | Lighting (exit)
LVS | Switchgear, Metal-enclosed ,below 750 volts (use only for THC)
M | Motor
MAN | Manifold Assembly
MCC | Motor Control Centre less than 750 volts
MEQ | Mechanical Equipment
METR | Meter
MH | Manhole
MLB | Motor Light Stop
MLN | Motor Light Run
MON | Monitor
MS | Motion, Occupancy Sensor
MT | Machine Tool
MX | Mixer, Flocculator and Agitator
NGR | Neutral Grounding Resistor
OIT | Operator Interface Terminal
OTF | Outfall Structure
OZ | Ozonator
P | Pump
PA | Public Address System Device, PA Speaker
PCV | Pressure Control Valve
PD | Primary Digester
PDA | Personal Data Assistant (not for Contracts -for WMS only)
PDIT | Pressure Differential Indicating Transmitter
PDM | Pulsation Dampener
PDP | Power Distribution Panel Less than 750 volts
PDSH | Pressure Differential Switch High
PDSHH^{*} | Pressure Differential Switch High High
PDT | Pressure Diffrential Transmitter
PI | Pressure Indicator or Gauge
PIC | Pressure Indicating Controller
PIP | Piping Section or System (not for Contracts -for WMS only)
PIT | Pressure Indicating Transmitter
PLQ | Plumbing Equipment (not for Contracts -for WMS only)
PR | Power Connector, Receptacle, Socket above 600 V
PRNT | Printer
PRT | Pressure Recording Transmitter
PRTY | Property
PSH | Pressure Switch High
PSHH | Pressure Switch High High
PSL | Pressure Switch Low
PSLL | Pressure Switch Low Low
PSU | Power Supply Unit
PT | Pressure Transmitter
PWU | Power Wash Unit
QUEN | Quencher
RC | Recorder
RD | Rupture Disk
RES | Reservoir
RPU | Remote Processing Unit
RTU | Remote Terminal Unit
RX | Reactor
SB | Scrubber (air, gas, oil)
SC | Screen, Trash Rack,
SCAM | Security Camera
SCAN | Scanner
SCBA | Self-Contained Breathing Apparatus
SCP | Screw Press
SCR | Selective Catalytic Reduction
SD | Secondary Digester
SEN | Sensor
SERV | Server
SI | Speed Indicator or Gauge
SIT | Speed Indicating Transmitter
SL | Silencer
SLFR | Sliding Frame agitator
SM | Shop Machine
SO | Sulphonator
SP | Sampler / Sampling Point (LIMS)
SPL | Spill Containment Kit
SQ | Safety Equipment
SRT | Speed Recording Transmitter
SS | Security System (use only for pumping station and reservoirs)
SSH | Speed Switch High
SSL | Speed Switch Low
ST | Starter
STR | Strainer
STRC | Structure (wall, ceiling, floor) - (not for Contracts -for WMS only)
SW | Switch
SWG | Breaker Greater than 750 volts
T | Tank, Vessel, Hot Water Tanks
TB | Tie Breaker less than 750 volts
TE | Temperature Element
TEL | Telephone, VoIP Phone Set
TI | Temperature Indicator or Gauge
TIC | Temperature Indicating Controller, Thermostat
TIT | Temperature Indicating Transmitter
TPB | Tipping Bucket
TPD | Trap Primer Device (Electronic, Pressure Drop Activate, P-Trap, etc.)
TR | Transformer
TRT | Temperature Recording Transmitter
TS | Transfer Switch
TSH | Temperature Switch High
TSL | Temperature Switch Low
TT | Temperature Transmitter
UPS | Uninterruptible Power Supply
UV | UV System/Chamber/Bank
V | Valve
VAV | Variable Air Volume Unit (an equipment usually consist of DM, FS, FN, etc)
VEH | Vehicle
VENT | Vent (not for Contracts -for WMS only)
VIT | Vibration Indicating Transmitter
VRT | Vibration Recording Transmitter
VSH | Vibration Switch High
VSL | Vibration Switch Low
VSS | Voltage Surge Suppression
WAP | Wireless Access Point
WEL | Well
WIT | Weight Indicating Transmitter
WR | Welding Receptacle, Receptacle 600V AC
WRT | Weight Recording Transmitter
WS | Weather Monitoring Station
WSC | Weigh Scale
WSH | Weight Switch High
WSL | Weight Switch Low
XSH | Torque Switch
YAN | Alarm Horn
ZIC | Position Indicating Controller
ZIT | Position Indicating Transmitter
ZRT | Position Recording Transmitter
ZSH | Position Switch High (Open)
ZSL | Position Switch Low (Closed)
ZSLH | Position Switches Low and High
ZT | Positiion Transmitter

## Table038 (Page 29-32)
CODE | DESCRIPTION
AC | Air Conditioner
AF | Anaerobic Filter
AFR | Arc Flash Protection Relay
AHU | Air Handling Unit
ALR | Alarm
AM | Atmosphere Monitoring
AMP | Amplifier Paging
ANL | Analyser
APP | Software Applications
BAT | Battery (Bank) / Battery Charger
BFP | Backflow Preventer
BL | Blower
BN | Bin
BO | Boiler
BRCH | Breaching
BU | Burner
BUS | Bus bar Greater than 750 volts, used to identify Switchgear
C | Compressor
CAP | Capacitor
CB | Circuit Breaker less than 750 volts
CBL | Cable - Only for 4160V and above
CF | Centrifuge
CH | Chamber
CHL | Chlorinator
CI | Chiller
CL | Classifier (Grit)
CLR | Clarifier
CM | Collector Mechanism
CMP | Compactor
COM | Communications Equipment, LAN, Telephone
CP | Control Panel
CPU | Computer
CRN | Crane
CT | Controller
CU | Condensing Unit
CV | Conveyor equipment (belt, bucket, screw, etc.)
CYC | Cyclone, vortex
D | Air Dryer ,Dehumidifier, Demister
DC | Data Cable (not for Contracts -for WMS only)
DCU | Dust Collector Unit
DD | Display Device
DEF | Defibrillation Unit
DM | Damper, Louvre
DP | Distribution Panel (Instrument Air, Oil, Water, Steam, etc. For electrical panels use PDP)
DPU | Dry Polymer Preparation Unit
DR | Door ( over-head or security system doors)
DRV | Drive Electric, Mechanical
DRN | Drains (not for Contracts -for WMS only)
DS | Disconnect Switch
DT | Drip Trap, Condensate Trap
DU | Duct (not for Contracts -for WMS only)
DVS | Flow Diversion Structure
ELV | Elevator
ENG | Engine
ESP | Electrical Splitter
EV | Evaporator
F | Filter
FA | Fire Alarm System Control Panel
FAK | First Aid Kit
FD | Feeder, Chemical
FDT | Flame Detector
FEQ | Fire Extinguisher
FM | Force Main
FN | Fan
FP | Flushing Point (not for Contracts -for WMS only)
FSP | Fire Standpipe & Hose
FSS | Fire Suppression System
FU | Furnace
FX | Flame Arrestor
G | Gate(Sluice, Weir) or Stop Gate / Stop Logs
GA | Gauge (not for Contracts -for WMS only)
GB | Gearbox
GDR | Grinder, Comminutor
GEN | Generator
GQ | Grounds Equipment
GRF | Ground Fault Relay
GS | Gas Distribution (not for Contracts -for WMS only)
HE | Heat Exchanger
HF | Harmonic Filter
HPU | Hydraulic Power Unit
HTR | Heater
HU | Humidifier
HYD | Hydrant
IGN | Igniter
INJ | Injector, Ejector, Eductor, Aspirator
INQ | Instrument Equipment
INT | Intake Structure
IRG | Irrigation System
LAG | Lagoon
LB | Load Break Switch
LD | Lifting Device
LDR | Ladder
LHD | Line Heat Detector
LOA | Loading Dock
LP | Lighting Panel or Load Panel
LPG | Lighting panel, Generator powered (use only for THC)
LPU | Lighting panel, UPS powered (use only for THC)
LR | Lubrication Ring
LTG | Lighting (emergency and security)
LTX | Lighting (exit)
LVS | Switchgear, Metal-enclosed ,below 750 volts (use only for THC)
M | Motor
MAN | Manifold Assembly
MCC | Motor Control Centre less than 750 volts
MEQ | Mechanical Equipment
METR | Meter
MH | Manhole
MON | Monitor
MS | Motion, Occupancy Sensor
MT | Machine Tool
MX | Mixer, Flocculator and Agitator
NGR | Neutral Grounding Resistor
OIT | Operator Interface Terminal
OTF | Outfall Structure
OZ | Ozonator
P | Pump
PA | Public Address System Device, PA Speaker
PD | Primary Digester
PDA | Personal Data Assistant (not for Contracts -for WMS only)
PDM | Pulsation Dampener
PDP | Power Distribution Panel Less than 750 volts
PIP | Piping Section or System (not for Contracts -for WMS only)
PLQ | Plumbing Equipment (not for Contracts -for WMS only)
PR | Power Connector, Receptacle, Socket above 600 V
PRNT | Printer
PRTY | Property
PSU | Power Supply Unit
PWU | Power Wash Unit
QUEN | Quencher
RC | Recorder
RD | Rupture Disk
RES | Reservoir
RPU | Remote Processing Unit
RTU | Remote Terminal Unit
RX | Reactor
SB | Scrubber (air, gas, oil)
SC | Screen, Trash Rack,
SCAM | Security Camera
SCAN | Scanner
SCBA | Self-Contained Breathing Apparatus
SCP | Screw Press
SCR | Selective Catalytic Reduction
SD | Secondary Digester
SEN | Sensor
SERV | Server
SL | Silencer
SLFR | Sliding Frame agitator
SM | Shop Machine
SO | Sulphonator
SP | Sampler / Sampling Point (LIMS)
SPL | Spill Containment Kit
SQ | Safety Equipment
SS | Security System (use only for pumping station and reservoirs)
ST | Starter
STR | Strainer
STRC | Structure (wall, ceiling, floor) - (not for Contracts -for WMS only)
SW | Switch
SWG | Breaker Greater than 750 volts
T | Tank, Vessel, Hot Water Tanks
TB | Tie Breaker less than 750 volts
TEL | Telephone, VoIP Phone Set
TPB | Tipping Bucket
TPD | Trap Primer Device (Electronic, Pressure Drop Activate, P-Trap, etc.)
TR | Transformer
TS | Transfer Switch
UPS | Uninterruptible Power Supply
UV | UV System/Chamber/Bank
V | Valve
VAV | Variable Air Volume Unit (an equipment usually consist of DM, FS, FN, etc)
VEH | Vehicle
VENT | Vent (not for Contracts -for WMS only)
VSS | Voltage Surge Suppression
WAP | Wireless Access Point
WEL | Well
WS | Weather Monitoring Station
WSC | Weigh Scale
WR | Welding Receptacle, Receptacle 600V AC

## Table021 (Page 22-24)
CODE | DESCRIPTION
AE | Analyzer Element
ASH | Analysis Switch High
ASL | Analysis Switch Low
ART | Analysis Recording Transmitter
AIC | Analysis Indicating Controller
AIT | Analysis Indicating Transmitter
DIT | Density Indication Transmitter
DL | Data Logger
EIT | Voltage Indicating Transmitter
FCV | Flow Control Valve
FE | Flow Element
FFIC | Flow Ratio Indicating Controller
FSH | Flow Switch High
FSL | Flow Switch Low
FRT | Flow Recording Transmitter
FI | Flow Indicator or Gauge
FIC | Flow Indicating Controller
FIT | Flow Indicating Transmitter
FQ | Flow Totalizing Meter
FQIR | Flow Totalizing Indicating Recorder
FRIC | Dosage (or Ratio) Indicating Controller
FS | Flow Switch
FT | Flow Transmitter
FY | Flow Analyzing Element
HS | Hand Switch (or Pushbutton)
HMS | Hand Momentary Switch (or Pushbutton)
HMSB | Hand Momentary Pushbutton – Stop
HMSF | Hand Momentary Pushbutton – Start Fast
HMSH | Hand Momentary Pushbutton – Start
HMSL | Hand Momentary Pushbutton – Start Reverse
HMSS | Hand Momentary Pushbutton – Start Slow
IRT | Current Recording Transmitter
IIT | Current Indicating Transmitter
JRT | Power Recording Transmitter (Protection, Monitoring & Control)
JIT | Power Indicating Transmitter (Monitoring Only)
KI | Time Indicator (Clock)
KIQ | Total Runtime Meter
LCV | Level Control Valve
LDIT | Level Differential Indication Transmitter
LE | Level Element
LI | Level Indicator or Gauge
LIC | Level Indicating Controller
LS | Level Switch
LSH | Level Switch High
LSHH | Level Switch High-High
LSL | Level Switch Low
LSLL | Level Switch Low Low
LSM | Level Switch Medium
LRT | Level Recording Transmitter
LIT | Level Indicating Transmitter
LT | Level Transmitter
MLB | Motor Light Stop
MLN | Motor Light Run
PCV | Pressure Control Valve
PDIT | Pressure Differential Indicating Transmitter
PDSH | Pressure Differential Switch High
PDSHH^{*} | Pressure Differential Switch High High
PDT | Pressure Diffrential Transmitter
PI | Pressure Indicator or Gauge
PIC | Pressure Indicating Controller
PIT | Pressure Indicating Transmitter
PRT | Pressure Recording Transmitter
PSH | Pressure Switch High
PSHH | Pressure Switch High High
PSL | Pressure Switch Low
PSLL | Pressure Switch Low Low
PT | Pressure Transmitter
SI | Speed Indicator or Gauge
SIT | Speed Indicating Transmitter
SSH | Speed Switch High
SSL | Speed Switch Low
SRT | Speed Recording Transmitter
TE | Temperature Element
TI | Temperature Indicator or Gauge
TIC | Temperature Indicating Controller, Thermostat
TIT | Temperature Indicating Transmitter
TSH | Temperature Switch High
TSL | Temperature Switch Low
TRT | Temperature Recording Transmitter
TT | Temperature Transmitter
VIT | Vibration Indicating Transmitter
VSH | Vibration Switch High
VSL | Vibration Switch Low
VRT | Vibration Recording Transmitter
WIT | Weight Indicating Transmitter
WSH | Weight Switch High
WSL | Weight Switch Low
WRT | Weight Recording Transmitter
XSH | Torque Switch
YAN | Alarm Horn
ZIC | Position Indicating Controller
ZIT | Position Indicating Transmitter
ZRT | Position Recording Transmitter
ZSH | Position Switch High (Open)
ZSLH | Position Switches Low and High
ZSL | Position Switch Low (Closed)
ZT | Positiion Transmitter