## Sheet1
PREFIX rdf: <http://www.w3.org/1999/02/22-rdf-syntax-ns#> PREFIX owl: <http://www.w3.org/2002/07/owl#> PREFIX rdfs: <http://www.w3.org/2000/01/rdf-schema#> PREFIX xsd: <http://www.w3.org/2001/XMLSchema#> PREFIX tw: <http://www.toronto.ca/TWONTO#> SELECT (STR(?label) as ?TWONTO) (STR(?object) as ?Avantis) WHERE { ?entityIRI tw:is_superclass_of_Avantis_category ?object ; rdfs:label ?label . }
TWONTO | Super_Category
roof | Roof Type,Tile
level switch | Switch,Level-High
lighting unit | Lighting,General
air handler unit | Air Handling Unit
centrifuge | Centrifuge,Thickening
storage tank | Tank,Non-Pressurized
flocculation tank | Flocculator,Turbine
roof | Roof Type,Inverted
mixer or agitator | Flocculator,Walking Beam
valve | Valve,Globe
valve | Valve,Globe
roof | Roof Type
computer | Computer Equipment,Hub
lighting unit | Lighting,Portable
valve | Regulator
valve | Regulator
blower | Blower,Centrifugal
roof | Roof Type,Shingle
valve | Valve,Air Release
valve | Valve,Air Release
blower | Fan,Centrifugal
valve | Valve,Pressure Reducing
valve | Valve,Pressure Reducing
PPE | PPE
fixed gas detector | Sensor,Gas,NH3
fixed gas detector | Sensor,Gas,SO2
instrument transmitter | Transmitter,Speed
valve | Valve,Plug
valve | Valve,Plug
flocculation tank | Flocculator,Paddle Wheel
fixed gas detector | Analyzer,Methane/LEL
compressor | Compressor,Stationary,Centrifugal
roof | Roof Type,Metal
battery charger | Charger,Battery
pond | Lagoon
computer | Computer Equipment,Monitor
valve | Regulator,Pressure
valve | Regulator,Pressure
mixer or agitator | Mixer,Venturi
instrument gauge or display | Pressure Sensor,Gauge
vibration sensor element | Switch,Vibration-Low
weight scale | Weigh Scale,Axle
compressor | Compressor,Portable,Trailer Mount
valve | Valve,Pressure Reducing,Act.
valve | Valve,Pressure Reducing,Act.
valve | Valve,Act.
valve | Valve,Act.
instrument transmitter | Transmitter,Weight Indicating
grinder or comminutor | Grinder,Dual Shaft counterrotating
computer | Desktop
roof | Roof Type,Cold Process Build Up
fixed gas detector | Atmosphere Monitoring Device,Stationary,Methane/LEL
instrument gauge or display | Meter,Flow,Rotometer
transformer | Transformer,Power,Dry
valve | Valve,Knife Gate
valve | Valve,Knife Gate
PLC | Controller,Temperature
UV disinfection assembly | Ultraviolet Disinfection,Bank
vibration sensor element | Switch,Vibration-High
pressure transmitter | Transmitter,Pressure,Differential
roof | Roof Type,Slate
clarifier | Clarifier,Square
flow switch | Switch,Flow-High
computer | Computer Equipment,Scanner
instrument transmitter | Transmitter,Flow
portable gas detector | Atmosphere Monitoring Device,Portable
compressor | Compressor,Stationary,Screw
hot work equipment | Welding Equipment,Welding Machine
motor | Motor,AC
motor | Motor,AC
level switch | Switch,Level-High-High
lifting equipment hoist | Lifting Device,Hoist,Electrical
roof | Roof Type,Metal,Copper
PLC | Controller,Level
UPS | Computer Equipment,UPS
flow switch | Switch,Flow-Low
level transmitter | Meter,Level,Ultrasonic
speed switch | Switch,Speed-High
valve | Valve,Pinch
valve | Valve,Pinch
heater | H.V.A.C.,Heater,Baseboard
screen | Screen,Trommel
process control panel | Control Panel,Fire
computer | Computer Equipment,Memory
passenger vehicle | Vehicle,Unlicensed
temperature switch | Switch,Temperature-High
crane | Crane,Overhead,Fixed,Paper
valve | Valve,Plug,Act.
valve | Valve,Plug,Act.
valve | Valve,Gate
valve | Valve,Gate
forklift | Forklift,Gas/Propane Dual Fuel
dryer | Drier,Refrigerant
elevator | Elevator,Personnel
air handler unit | Air Handling Unit,Blow Thru
valve | Valve,Ball,Act.
valve | Valve,Ball,Act.
lighting unit | Lighting,Exit
valve | Valve,Solenoid,Act.
valve | Valve,Solenoid,Act.
compressor | Compressor,Portable
level switch | Switch,Level-Low-Low
actuator | Actuator,Pneumatic
pressure vessel | Vessel,Pressure,Surge
clarifier | Clarifier,Rectangular
blower | Fan,Axial
roof | Roof Type,Metal,Galvanized
computer | Computer Equipment,Laptop Docking Station
PLC | Controller,Pressure
process control panel | Control Panel,Security
level transmitter | Meter,Level,Bubbler
weight scale | Weigh Scale,Load Cell
air damper | Damper/Louver,Butterfly
valve | Valve,Gate,Act.
valve | Valve,Gate,Act.
valve | Valve,Cone,Act.
valve | Valve,Cone,Act.
heater | Heater,Process
heater | H.V.A.C.,Heater,Duct
strainer | Strainer,Self Cleaning Motorized
transformer | Transformer,Lighting
elevator | Elevator,Freight
compressor | Compressor,Stationary
level switch | Switch,Level-Low
valve | Valve,Diaphragm,Act.
valve | Valve,Diaphragm,Act.
heater | H.V.A.C.,Heater,Convection
roof | Roof Type,Single Ply Membrane,Asphalt
motor | Motor,Hydraulic
motor | Motor,Hydraulic
incinerator | Incinerator,Multi-Hearth
speed switch | Switch,Speed-Low
process control panel | Control Panel,Instrumentation
valve | Valve,Balance
valve | Valve,Balance
PLC | Controller,VFD
valve | Regulator,Flow
valve | Regulator,Flow
transformer | Transformer,Power
mixer or agitator | Agitator,Air
cable segment | Cable,Busduct
mixer or agitator | Mixer,Submersible
valve | Valve,Thermal
valve | Valve,Thermal
chemical or concentration sensor element | Sensor,Gas
crane | Crane,Overhead,Fixed
battery | Battery,Wet Cell
compactor | Transfer Compactor
air damper | Damper/Louver,Butterfly,Single Blade
crane | Crane,Overhead
actuator | Actuator,Electric
air damper | Damper/Louver,Variable Vane
compactor | Compactor,Stationary
valve | Valve,Knife Gate,Act.
valve | Valve,Knife Gate,Act.
process control panel | Control Panel,Operator
actuator | Actuator,Pneumatic,Cylinder
lighting unit | Lighting,Emergency
valve | Valve,3 Way
valve | Valve,3 Way
computer | Desktop,Workstation
valve | Valve,Globe,Act.
valve | Valve,Globe,Act.
valve | Valve,3 Way,Act.
valve | Valve,3 Way,Act.
clarifier | Clarifier,Circular
valve | Valve,Cone
valve | Valve,Cone
air handler unit | Air Handling Unit,Draw Thru
portable gas detector | Atmosphere Monitoring Device,Portable,Oxygen/Toxic/CH4/LEL/CL/SO2
actuator | Actuator,Manual
weight scale | Weigh Scale,Strain Gauge
actuator | Actuator,Hydraulic
actuator | Actuator,Manual,Lever
actuator | Actuator,Hydraulic,Cylinder
generator-set | Generator,Electricity,Stationary
screw conveyor | Conveyor,Screw,Shaftless
instrument transmitter | Transmitter,Humidity
heater | H.V.A.C.,Heater,Unit
forklift | Forklift,Electric
compressor | Compressor,Portable,Skid Mount
computer | Computer Equipment,CPU
generator-set | Generator,Electricity,Portable
fixed gas detector | Atmosphere Monitoring Device,Stationary,H2S/CO/CL/Toxic/SO2/NH3
waste gas burner | Burner,Waste Gas
computer | Computer Equipment,CD Rom
weight scale | Weigh Scale,Platform
hot work equipment | Welding Equipment,Plasma Cutting Machine
valve | Valve,Butterfly,Act.
valve | Valve,Butterfly,Act.
chemical storage tank | Tank,Alum
compressor | Compressor,Screw
pressure switch | Switch,Pressure-High
centrifuge | Centrifuge,Dewatering
computer | Computer Equipment,Hard Drive
compressor | Compressor,Stationary,Piston
actuator | Actuator,Manual,Chain Wheel
position switch | Switch,Position-High
actuator | Actuator,Manual,Hand Wheel
air damper | Damper/Louver,Butterfly,Multi Blade
fixed gas detector | Sensor,Gas,CL2
level transmitter | Meter,Level,Capacitance
fixed gas detector | Analyzer,Ozone
server appliance | Server,Tower
position switch | Switch,Position-Low
lighting unit | Lighting,Portable,Trailer Mount
fixed gas detector | Analyzer,Particle Counter
air duct segment | Silencer
motor | Motor,AC,Induction
motor | Motor,AC,Induction
fixed gas detector | Analyzer,Carbon Monoxide (CO)
air damper | Damper/Louver,Guillotine
flow switch | Switch,Flow-High
passenger vehicle | Vehicle,Licensed
valve | Valve,Needle
valve | Valve,Needle
large stationary tool | Machine Tool,Saw
flow switch | Switch,Flow-Low
motor | Motor,AC,Wound Rotor
motor | Motor,AC,Wound Rotor
hot work equipment | Welding Equipment
lifting equipment hoist | Lifting Device,Hoist,Manual
portable gas detector | Atmosphere Monitoring Device,Portable,Mercury
level transmitter | Meter,Level,Infrared
valve | Valve,Rotary
valve | Valve,Rotary
instrument transmitter | Transmitter,Density
dryer | Drier,Dessicant
fixed gas detector | Analyzer,Sulphur Dioxide
valve | Valve,Check
valve | Valve,Check
mixer or agitator | Flocculator,Turbine
flocculation tank | Flocculator,Walking Beam
valve | Valve,Anti-Siphon
valve | Valve,Anti-Siphon
compactor | Compactor,Stationary,Paper
compactor | Compactor,Mobile
hot work equipment | Welding Equipment,Oxy-Acetylene Cutting Apparatus
screen | Screen,Vibrating
chemical or concentration analyzer | Analyzer
actuator | Actuator,Hydraulic,Vane Type
motor | Motor,Pneumatic
motor | Motor,Pneumatic
computer | Computer Equipment,Printer
process control panel | Control Panel,HVAC
crane | Crane,Travelling
battery | Battery
hot work equipment | Welding Equipment,Welding Tools
load break disconnect switch | fvyuLoad Break Switch
transformer | Transformer,Ignition
valve | Valve,Butterfly
valve | Valve,Butterfly
PLC | Controller,Flow
air scrubber | Scrubber,Impingement
motor | Motor,AC,Synchronous
motor | Motor,AC,Synchronous
instrument transmitter | Transmitter,Power Indicating
roof | Roof Type,Single Ply Membrane
compressor | Compressor,Stationary,Sliding Vane
valve | Valve,Pet Cock
valve | Valve,Pet Cock
fixed gas detector | Analyzer,Oxygen
pressure switch | Switch,Pressure-Low
valve | Valve,Pressure Control
valve | Valve,Pressure Control
actuator | Actuator,Pneumatic,Vane Type
valve | Valve,Solenoid
valve | Valve,Solenoid
mixer or agitator | Mixer,Propeller
valve | Valve,Pinch,Act.
valve | Valve,Pinch,Act.
fixed gas detector | Analyzer,Total Hydrocarbon (THC)
air damper | Damper/Louver,Butterfly,Double Blade
grinder or comminutor | Grinder,Double-Roll
well | Well,Reservoir
lighting unit | Lighting,Security
conveyor | Conveyor,Vibrating
blower | Blower,Positive Displacement
crane | Crane,Overhead,Travelling
battery | Battery,Dry Cell
temperature switch | Switch,Temperature-Low
transformer | Transformer,Control
computer | Desktop,Thin Client
transformer | Transformer,Power,Oil Filled
valve | Valve,Temperature Control
valve | Valve,Temperature Control
valve | Valve,Diaphragm
valve | Valve,Diaphragm
valve | Valve,Ball
valve | Valve,Ball
lighting unit | Lighting,Aviation
valve | Valve,Flow Control
valve | Valve,Flow Control
computer | Desktop,Laptop
instrument gauge or display | Pressure Sensor,Gauge,Pressure
forklift | Forklift,Propane
roof | Roof Type,Standard Build Up
motor | Motor,DC
motor | Motor,DC
cable segment | Cable,Teck
mixer or agitator | Flocculator,Paddle Wheel
server appliance | Server,Rack Mounted
UV disinfection assembly | Ultraviolet Disinfection,Chamber