## Sheet1
PREFIX rdf: <http://www.w3.org/1999/02/22-rdf-syntax-ns#> PREFIX owl: <http://www.w3.org/2002/07/owl#> PREFIX rdfs: <http://www.w3.org/2000/01/rdf-schema#> PREFIX xsd: <http://www.w3.org/2001/XMLSchema#> PREFIX tw: <http://www.toronto.ca/TWONTO#> SELECT (STR(?label) as ?TWONTO) (STR(?object) as ?Avantis) WHERE { ?entityIRI tw:is_equivalent_to_tag_code ?object ; rdfs:label ?label . }
TWONTO | Tag
mixer or agitator | MX
cable segment | CBL
UV disinfection assembly | UV
humidifier | HU
material distribution panel | DP
screen | SC
burner component of asset | BU
display panel | DD
large stationary tool | SM
temperature sensor element | TE
dehumidifier | D
flow switch | FS
pipe segment | PIP
spill kit | SPL
ladder | LDR
fire rated door | DR
power harmonic filter | HF
compactor | CMP
disconnect switch | DS
annunciator panel | FA
pressurized sewer segment | FM
capacitor | CAP
air duct segment | DU
hydrant | HYD
hydrant | HYD
surge suppressor | VSS
transformer | TR
flow switch | FS
generator-set | GEN
elevator | ELV
valve | PCV
valve | PCV
compressor | C
backflow preventer | BFP
slude density meter | DIT
LV electrical panel | LP
level switch | LS
self-contained breathing apparatus | SCBA
strainer | STR
AC condenser unit | CU
pressure transmitter | PT
heater | HTR
condensate trap | DT
instrument transmitter | AIT
instrument gauge or display | GA
valve | FCV
valve | FCV
blower | BL
crane | CRN
dust collector | DCU
RTU panel | RTU
battery | BAT
auto sampler | SP
hydraulic power pack | HPU
centrifuge | CF
gearbox | GB
chiller | CI
air scrubber | SB
well | WEL
air condition | AC
air damper | DM
controlled door access | DR
roll up door | DR
quencher | QUEN
AC evaporator unit | EV
flow element | FE
data logger | RC
process control panel | CP
UPS | UPS
first aid kit | FAK
computer | CPU
manhole | MH
motor | m
motor | m
ozone generator | OZ
trap priming device | TPD
weight scale | WRT
instrument sensor element | AE
ground and test device | GRF
motor starter | ST
boiler | BO
conveyor | CV
grinder or comminutor | GDR
flow transmitter | FT
weight scale | WIT
alarm device | ALR
server appliance | SERV
outfall or discharge point | OTF
level transmitter | LT
automatic external defibrillator | DEF
flow transmitter | FIT
security camera | SCAM
pressure transmitter | PIT
protection relay | AFR
engine | ENG
pulsation dampener | PDM
weight scale | WSC
level transmitter | LRT
level transmitter | LIT
variable air volume unit | VAV
reactor | RX
reservoir tank | RES
position sensing instrument | ZT
valve | V
valve | V
collector mechanism | CM
position sensing instrument | ZIT
battery charger | BAT
public annoucement speaker | AMP
ejector | INJ
welding receptacle | WR
channel gate | G
position sensing instrument | ZRT
flame arrestor | FX
blower | FN
transfer switch | TS
furnace | FU
clarifier | CLR
power washer | PWU
level sensor element | LE
instrument sensor element | SEN
fixed gas detector | AM
ash lagoon | LAG
flowmeter | FIT
display panel | MON
operator interface terminal | OIT
torque switch | XSH
chlorinator system | CHL
public annoucement speaker | PA
RTU panel | RPU
flowmeter | FT
air handler unit | AHU
heat exchanger | HE
storage tank | T
controller | CT
equipment or access chamber | CH
vibration analyzer | VIT
flow element | FE
classifier | CL